Mini-Rhizotron Tube Installation

Melissa Lucash 5/2002

Equipment Inventory

- Coring apparatus—can be dismantled into 2 pieces (DO NOT LOSE BOLTS)

- Corer

- 4 Apparatus anchors

- Corer Cap

- “Hammer”

- Soil probe

- Tubes

- (You will need duct tape, electrical tape, flagging)

Important things to remember:

- Coring depth is marked in black on corer

- Align tubes so that holes are @ 11-1-5-7

- Electrical tape up to holes

- Duct tape “cap”

- Flag tubes